LifeTime Lingual Patient Information

Your new retainer is designed to hold your teeth in their new position. It is securely bonded to your own teeth to prevent your teeth relapsing to their previous position. The LifeTime Lingual retainer is made from a high strength ceramic hybrid material that looks and feels like your natural teeth.

After orthodontic tooth movement it is recommended that you wear a retainer for life or as recommended by your dentist. As well as your permanent fixed LifeTime Lingual retainer you have also been provided with a removable retainer that is to be used at night. It is important to wear the removable retainer to prevent movement in the unlikely event that your LTL becomes debonded.

Hygiene

It is essential that you clean the teeth with the bonded appliance thoroughly a minimum of twice per day or as instructed by your hygienist. It is recommended to clean between the teeth between the appliance and the gums using an interdental brush to prevent plaque build up. Flossing is not possible except between the appliance and the gums.

Take extra care to clean the back of the teeth for approximately 2 minutes, electric toothbrushes are very effective in this area.

It is important to have regular hygiene appointments and check ups to ensure gum health

and to prolong the life of your appliance.

Care

1. It is important to take extra care when eating with an orthodontic appliance or retainer.

Hard sweets, toffees, apples etc could dislodge or damage the appliance.

Biting fingernails or hard objects may cause your retainer to become detached.

- It is recommended to wear the removable retainer at least every other night but

preferably every night.

3. If you feel anything different with your fixed retainer call your dentist to make an urgent appointment to get it checked. It is essential that you wear your removable retainer every night until your LifeTime Lingual retainer is checked and repaired or replaced.

Failure to wear the removable appliance may result in rapid tooth movement.

4.. There may be a charge to repair or replace your appliance.

5. You accept responsibility for wearing your appliances as instructed and for any relapse

should these instructions not be complied with.

Patient Signature  _________________________  Print Name _____________________

Dentist Signature  _________________________

Date ______________________